| coral structure |  |  |  |
| --- | --- | --- | --- |
| FIELD NAME | DESCRIPTION | TYPE | UNITS |
| staCode | station name | char (1,*) |  |
| staChannel | channel name | char (1,3) |  |
| staNetworkCode | network code | char (1,*) |  |
| staLocationCode | location code | char (1,*) |  |
| staQualityCode | data quality code | char (1,*) |  |
| staType | not well defined | char (1,*) |  |
| staLat | station latitude | double (1) | geographic deg (-90:90) |
| staLon | station longitude | double (1) | degrees (-180:180) |
| staElev | station elevation | double (1) | meters |
| staRespType | type or inst response | char(1,*) | see Notes |
| staGain | instrument gain | double (1) | see staGainUnit |
| staGainUnit | units of gain | char (1,*) | counts/(m) counts/(m/s) or counts/(m/s/s) |
| staGainFreq | gain frequency | double(1) | Hz |
| staNormalization | instrument normalization | double (1) |  |
| staNormalizationFreq | normalization frequency | double(1) | Hz |
| staPoles | poles of instrument response | complex(number of poles,1) | radians |
| staZeros | zeros of instrument response | complex(number of zeros,1) | radians |
| eqLat | earthquake latitude | double | geographic degrees (-90:90) |
| eqLon | earthquake longitude | double | degrees(-180:180) |
| eqDepth | earthquake depth | double | km |
| eqOriginTime | earthquake origin date/time(year,month,day, hour, minute second) | double (6,1) |  |
| eqMagnitude | earthquake magnitudes | double(*,1) |  |
| eqMagnitudeType | magnitude types | cell{*,1} |  |
| eqMomentTensor | Moment Tensor | double(6,1) | N-m |
| eqComment | earthquake comment | char (1,*) |  |
| extras | info from ah file | double(21,1) | user defined |
| recSampInt | sample interval | double (1) | seconds |
| recStartTime | record start date/time (year,month,day, hour, minute second) | double (6,1) |  |
| recDip | dip of this component | double (1) | 0 horizontal, -90 is up; 90 is down |
| recAzimuth | azimuth of this component | double (1) | 0 is north, 90 east, etc. |
| recLog | history of data operations | char (1,*) |  |
| recNumData | number of data samples | double (1) |  |
| data | seismogram | double (*,1) | see recLog |
| recNumDataAvail | number of data samples available | double (1) |  |
| recComment |  | char (1,*) |  |

coral structure array (D) is of the form D(k).fieldname, where k is an index into the array.  A structure has required (bold) and optional fields.  See Table 1 for the required field names (bold) and read below for the detailed requirements of each field.  These conform to the SEED requirements and recommendations as much as possible.

Required fieldnames:

staCode	station name is a character string containing no blanks and up to 8 characters e.g. 'COL', preferred to be upper case, but not required

staChannel	channel code as described in the SEED manual http://www.iris.washington.edu/manuals/SEED_appA.htm,  must be three characters.  The first is band (e.g. L, B, S, E for long-period, broadband, short-period, extremely short period, etc) second is typically H or L for high or low gain,  third indicates orientation (e.g. Z, N, E for up, north, east) e.g. 'BHZ'

staNetworkCode	network code must be a character string of length (0, 1, or 2) that indicates the network the station belongs to (e.g. 'IU' ).  If unknown it should be the empty string ''.

staLocaionCode	location code is a character string of length (0 or 2) that indicates the element of an array of stations.   If there is only one seismometer for a given station, or if the correct element is unknown this should be the zero length string ''.  A common usage for this is to distinguish borehole from surface or vault seismometers within the IRIS/GSN.  The codes adopted for this purpose are generally '00' and '10'.

staQualityCode	quality code is a single character, currently one of: ('D': data of undetermined state,  'R' raw waveform data, 'Q' quality controlled data) should be the empty string '' or 'D' if unknown.

staLat	geographic latitude (deg) of the seismometer (-90 to 90), NaN if unknown

staLon	longitude (deg) of the seismometer (-180 to 180), NaN if unknown

staElev	elevation of seismometer relative to sea level (m), positive is up, NaN if unknown

recSampInt	sample interval of data (seconds)

recStartTime	time of first sample in the seismogram (column vector; year, month, day, hour, minute, second, GMT)

recDip	dip of this component (deg, 0 = horizontal, -90 is up, 90 is down).  This is the same convention as SEED, but different from SAC which does not use dip, but instead CMPINC which is 0=up, 90=horizontal, 180=down.

recAzimuth	azimuth of this component (0 is north, 90 east, etc.)

recLog	character string of arbitrary length describing the history of all operations applied to the seismogram.

data	seismogram, must be a column vector

recNumData	number of samples in the seismogram

staRespType	character string describing the type of instrument response; should be the empty string: '' if no response available, 'PZ' if it is the standard Pole-Zero response described below, no other type is currently available.

staGain	Sd digital sensitivity of the sensor at a given reference frequency (see below)

staGainUnit	units of the gain.  If raw waveform is digital counts, and the response is given for displacement in meters, then staGainUnit should be  'counts/(m)'; if response is for velocity in m/s then staGainUnit should be  'counts/(m/s)';  if response is for acceleration in m/s/s then staGainUnit should be  'counts/(m/s/s)'.  These are currently the only three recognized possibilities.  If unknown the field should be an empty string, '',  which will be interpreted as 'counts/(m)'.

staGainFreq	frequency at which overall gain is evaluated (Hz), NaN if unknown

staNormalization	A0 (See below)

staNormalizationFreq	frequency at which overall normalization is evaluated (Hz) ), NaN if unknown

staPoles	rn column vector containing N complex-valued poles of the instrument response, if no poles it should be the zero length vector [] (See below)

staZeros	pm column vector containing M complex-valued zeros of the instrument response if no zeros it should be the zero length vector []  (See below)

Instrument Response:  coral currently only accepts one style of description of the instrument response.  It is the style that is output from rdseed along with SAC and AH files. This is described in detail in the SEED manual which can be found at http://www.iris.washington.edu/manuals/acrobat/T_SEED.pdf .    The coral format does not account for the FIR filter stages.  It assumes a pole/zero response of type A such that the transfer function of has the form

G(f)  =  A0 Sd n=0N (i2f - rn)  /  m=0M (i2f - zm)

where  the Normalization A0  = 1/  | n=0N (i2fs - rn)  /  m=0M (i2fs - zm) | for some reference frequency fs and the digital sensitivity Sd is the positive real-valued gain of the response at the reference frequency.  There are N complex valued poles rn and M complex valued zeros pm.  By convention the real parts of the poles an zeros are less than or equal to zero.  In order to ensure the instrument response turns any real input into a real output the poles and zeros come in complex conjugate pairs.  The first stage of a response from a SEED volume can be of type A or type B, we convert it to type A.  The gain of each of the other stages are included in the overall gain.

eqLat	geographic earthquake latitude (deg, NaN if unknown or not appropriate)

eqLon	geographic earthquake longitude (deg, NaN if unknown or not appropriate)

eqDepth	earthquake depth (km, positive down,  NaN if unknown or not appropriate)

eqOriginTime	earthquake origin time (column vector; year, month, day, hour, minute, second, GMT, vector containing NaN if unknown or not appropriate)

eqMagnitude	column vector of earthquake magnitude values (can be empty)

eqMagnitudeType	column vector cell array of earthquake magnitude types (e.g. {'mb';'Ms';'Mw'} (can be empty cell array: {}) Dimensions of eqMagnitudeType and eqMagnitude must be the same.

optional fields:

staType	character string or arbitrary length describing the type of seismometer, or containing the staNetworkCode, staLocationCode and staQualityCode; e.g. IU.00.D or IU..D or IU.10.

eqComment	character string or arbitrary length describing the earthquake and where the location came from

eqMomentTensor	column vector with 6 elements containing the values of Mrr Mss Mee Mrs Mre Mse in units of N-m (r=radial (up), s=south, e=east).

derived optional fields:

eqStaDistance	epicentral distance (deg)

eqStaAzimuth	earthquake to station azimuth (clockwise from north, deg)

staEqAzimuth	station to earthquake azimuth (clockwise from north, deg)

optional fields:

recComment 	character string of arbitrary length

recNumDataAvail	number of data available on disk, this is useful if you wish to read the headers from the data files, but not the data (e.g. data field is empty and numData = 0) Then you can go back and select from the data that are available which ones to read and which to not read.

http://www.iris.washington.edu/manuals/manuals.htm#1a

# Currently available Functionality

| Function | Output | Input | Required Fields | Description |
| --- | --- | --- | --- | --- |
| coralAlignSeis | data, timeshift, C, beam | data, dataMat, iflag, index | recSampInt | align seismograms using data in dataMat, which comes from coralCut |
| coralBeam | stack | data, opt | data, recSampInt, recNumData | stack data |
| coralCompareStruct | diff_field1, diff_field2, ierr, summary | ST1, ST2 |  | find differences between 2 coral structures |
| coralCrossCorr | cc, t, indx, ccLag, ccMax, ierr | data, opt | data, recSampInt, recNumData | cross correlate seismograms in pairs |
| coralCut | data, ierr, options, dataMat | data, opt | data, recSampInt, recStartTime, recNumData, staLat, staLon, eqLat, eqLon, eqDepth, eqOriginTime | cut seismograms with respect to absolute times, or times relative to predicted phase arrivals |
| coralDeconInst | data, ierr | data,opt | recSampInt, data, staGainType, staNormalization staGain staPoles staZeros, recLog, staCode | Deconvolve Instrument Response |
| coralDemean | data, ierr | data | data, recLog | remove mean from each seismogram |
| coralDetrend | data, ierr | data | data, recLog | remove trend (line) from each seismogram |
| coralEnvelope | data, ierr | data | data, recLog | calculate envelope function of data |
| coralFilter | data, ierr | data, cutoffFreq, type, order, phase | data, recSampInt, recLog | apply Butterworth filter |
| coralGetTimes | recStartTime, recStartSampleI, recEndSampleI, recStartSampleErr, recStartTimeDiff, recEndTimeDiff | data, refTimeInd | recStartTime, recSampInt, recNumData | get start and end times of seismograms |
| coralHilbert | data, ierr | data | data, recLog | calculate Hilbert Transform of data |
| coralIntegrate | data, ierr | data | data, recLog | integrate data |
| coralMerge | data, overlap | data, opt | data, recLog, recSampint, recNumData | merge all seismograms in data |
| coralPlot | data, opt | data | data, recSampInt | plot the seismograms |
| coralReadAH | data | filename | ALL | read data from AH file |
| coralReadSAC | data | filename | ALL | read data from SAC file |
| coralResample | data, ierr, opt | data, opt | data, recLog, recSampInt, recNumData | resample seismograms |
| coralRotate | data, ierr | data, opt | data, recLog | rotate seismograms |
| coralTaper | data, ierr | data, opt | data, recLog | apply a cosine taper to each seismogram |
| coralUnique | data, results, problem, problem1 | data, opt |  | find unique data |
| coralWriteAH | err | filename, D | ALL | write data to AH file |
| coralWriteSAC | err | filename, D | ALL | write data to SAC file |

Last modified KCC   April 22, 2007

Miscellaneous Notes below here

Function	Output	Input	Required Fields	Description

coralAlignSeis	data, timeshift, C, beam	data, dataMat, iflag, index	recSampInt	align seismograms using data in dataMat, which comes from coralCut

coralBeam	stack	data, opt	data, recSampInt, recNumData	stack data

coralCrossCorr	cc, t, indx, ccLag, ccMax, ierr	data, opt	data, recSampInt, recNumData	cross correlate seismograms in pairs

coralCut	data, ierr, options, dataMat	data, opt	data, recSampInt, recStartTime, recNumData, staLat, staLon,  eqLat, eqLon, eqDepth, eqOriginTime	cut seismograms with respect to absolute times, or times relative to predicted phase arrivals

coralDeconInst	data, ierr	data,opt	recSampInt, data, staGainType, staNormalization staGain staPoles staZeros, recLog, staCode	Deconvolve Instrument coralResponse

coralDemean	data, ierr	data	data, recLog	remove mean from each seismogram

coralDetrend	data, ierr	data	data, recLog	remove trend (line) from each seismogram

coralPlot	data, opt	data	data, recSampInt	plot the seismograms

coralReadAH	data	filename	ALL	read data from AH file

coralReadSAC	data	filename	ALL	read data from SAC file

coralResample	data, ierr, opt	data, opt	data, recLog, recSampInt, recNumData	resample seismograms

coralTaper	data, ierr	data, opt	data, recLog	apply a cosine taper to each  seismogram

# Needed Functionality

read seismic data from Sac, AH, MiniSeed? DHI/FMI

write seismic data to .mat files

Add the following information to individual seismograms:

Predicted travel-times and amplitudes of various phases

Observed travel-times and amplitudes of various phases

Quality Flags

Group seismograms and perform the following operations:

Rotate seismograms,  merge seismograms, align seismograms, stack seismograms

Add the following information to groups of seismograms:

Predicted travel -times and amplitudes of various phases

Observed differential travel -times and amplitude ratios of various phase pairs

group Quality Flags

Display seismograms one at a time or in record sections of groups with interactive alignment capability.

Flip seismograms

Remove glitches from seismograms

[header,data]=readah(ahFileName);    % read data

opt.sintr_target = 0.1;

opt.opt          = 'deco 1';

opt.opt          = 'Deco cos .01 .03 .1 .2 wl .00001';

opt.phase={'P'};opt.window=[-110 110];

[header,data,ierr]  = coralDemean(header,data);      % remove mean from each seismogram

[header, data, ierr] = coralTrend(header, data);    % remove trend from each seismogram

[header,data,ierr]  = coralTaper(header,data,0.05);  % taper each seismogram in time domain

[header,data,ierr]  = coralResample(header,data,opt); % resample data to opt.sintr_target second sample rate

[calib_old, calib_new, waterlevel, ierr] = coralDeconInstPre(header, opt);         % decipher opt.opt

[header,data,ierr]=coralDeconInst(header,data,calib_old,calib_new,opt,waterlevel); % deconvolve instrument response

Cut phase, window

Deme, Trend, Taper, Resample, Filter, Integrate, Differentiate, Envelope, Deconvolve, Hilbert Transform,

Align, Beam, Stack, Vespagram, Correlate, Rotate, Paste, Xcorr

sort, keep, remove, duplicate

plot record section: grid, orient, scale, title, tt, xwin, yaxi, fill

plot focal sphere

travel-time curves

[calib_old, calib_new, waterlevel, ierr] = coralDeconInstPre(data, options);

[data,ierr]=coralDeconInst(data,calib_old,calib_new,waterlevel,options);

Deme (0 args) – remove mean from each seismogram, modify data.data, data.recLog

Tape (1 arg) – taper from both ends of the time series, modify data.data; data.recLog

Tren (0 args) – remove line from each seismogram, modify data.data; data.recLog

Resample (1 arg) – resample seismograms, modify data.data; data.recSampInt; data.recLog (resa 2:3)

Integrate (0)– integrate seismograms, modify data.data; data.recLog

Differentiate (0) - differentiate seismograms, modify data.data; data.recLog

Envelope (0) create envelope fuction of seismograms, modify data.data; data.recLog

Hilobert Transform (many) take Hilbert transform of all/some data; modify data.data; data.recLog

Deconvolve (many) – deconvolve seismograms,

Rotate  complicated one!!!

Rank

Read from a file (AH, SAC, MAT, SEED) into data/header

Write from data/header to (AH, SAC, MAT)

Action:

[headerOut, dataOut, ierr] = coralDemean (header, data);

remove mean from each seismogram;

change data: data, recLog

ierr = 0 (OK); 1 (no data); 2 (data not finite)

[headerOut, dataOut, ierr] = coralDetrend (header, data);

remove trend (line) from each seismogram;

change data: data, recLog

ierr = 0 (OK); 1 (no data); 2 (data not finite)

[headerOut, dataOut, ierr] = coralTaper (header, data, opts);

taper each seismogram;

change data: data, recLog

if opts is a number then taper that fraction of the data with a cosine taper

else if opts.taper is a number then taper that fraction of the data

ierr = 0 (OK); 1 (no data); 2 (data not finite); 3 opts not specified correctly

[headerOut, dataOut, ierr, opts] = coralResample (header, data, opts);

resample each seismogram;

change data: data, recLog, recSampInt; header.numSamp

if opts is missing, resample all seismograms to the largest sample interval

if opts.target_sintr is a number resample all seismograms to this value

ierr = 0 (OK); 1 (no data); 2 (data not finite); 3 opts not specified correctly

[dataOut, headerOut, ierr] = coralDemean (data, header);  remove mean from each seismogram

[dataOut, headerOut, opts] = coralCut (data, header, opts);

[dataOut, headerOut, opts] = coralPaste (data, header, opts);

[dataOut, headerOut, opts] = coralResample (data, header, opts);

[dataOut, headerOut, opts] = coralTaper (data, header, opts);

| Coral | Ah2struct |  |  |  |
| --- | --- | --- | --- | --- |
| sta | Name |  |  | Character*6 |
| staCode staChannel staType staLat staLon staElev staGain staNormalization staPoles staZeros eqLat eqLon eqDepth eqOriginTime eqComment numData extrasName | Code |  | Station name | Character*6 |

AH2STRUCT

staCode

staType

staNetworkCode

staLocationCode

staLat

staLon

staElev

staNormalization

staGain

staPoles

staZeros

staChannel

eqLat

eqLon

eqDepth

eqOriginTime

eqMw

eqMb

eqMs

eqComments

extras

data

recStartTime

recSinter

recDip

recAzimuth

recComments

recLog

StaName: {227x1 cell}

NetName: {227x1 cell}

LocName: {227x1 cell}

QCName: {227x1 cell}

ChanName: {227x1 cell}

PhaseName: {227x1 cell}

DataSource: {227x1 cell}

EqName: {227x1 cell}

Picker: {227x1 cell}

PickMethod: {227x1 cell}

EqLat: [227x1 double]

EqLon: [227x1 double]

EqDepth: [227x1 double]

EqDate: [227x1 double]

EqTime: [227x1 double]

EqRadiation: [227x1 double]

RecDate: [227x1 double]

RecTime: [227x1 double]

StaLat: [227x1 double]

StaLon: [227x1 double]

EqStaDist: [227x1 double]

EqStaAzim: [227x1 double]

DateofPick: [227x1 double]

TTimeQual: [227x1 double]

TTime: [227x1 double]

TTimeResidual: [227x1 double]

PickDate: [227x1 double]

PickTime: [227x1 double]

AmpDefl: [227x1 double]

AmpWindow: [227x1 double]

AmpPeriod: [227x1 double]

SNR: [227x1 double]